## aa_Stats (hidden)
UNDER DEVELOPMENT / WORKING
Attribute Details
|  | Percentage | Count of Assets Applied to achieve Percentile Assets | Attributes Used Across x% of the Assets
Attributes Required in 100% or More of Assets |  | 100% | #REF! | #REF!
Attributes Required in 90% or More of Assets |  | 90% | #REF! | #REF!
Attributes Required in 75% or More of Assets |  | 75% | #REF! | #REF!
Attributes Required in 50% or More of Assets |  | 50% | #REF! | #REF!
Attributes Required in 25% or More of Assets |  | 25% | #REF! | #REF!
Attributes Required in 10% or More of Assets |  | 10% | #REF! | #REF!
Attributes Required in 0% or More of Assets |  | 0% | #REF! | #REF!
Assets with X number of Attributes
| Use in Description | Percentage | Number of Attributes per Asset | More or Less | Assets with X or more Attributes | Std Dev
#REF! | Maximum | 100% | #REF! | more | #REF! | #REF!
#REF! | 10% | 90% | #REF! | more | #REF!
#REF! | 75% | 75% | #REF! | less | #REF!
#REF! | 50% | 50% | #REF! | less | #REF!
#REF! | 25% | 25% | #REF! | less | #REF!
#REF! | 10% | 10% | #REF! | less | #REF!
#REF! | Minimum | 0% | #REF! | more | #REF!
50% of the Assets are Coverred by 96 of the attributes.
50% of the Asset types have 23 or less attributes requied
Less than 10% of the attributes require 32 or more attributes
FIX this is not right!
Simplify this and validate

## Comparison of Names (hidden)
Attribute List | Match
Accessible | No Match
Actuated | No Match
Alternative_Room_Name | No Match
Alternative_Room_Number | No Match
Amperage | No Match
Amperage_Motor | No Match
Area | No Match
Area_Services | No Match
ASF_Type | No Match
Assets | No Match
Associated_Asset | No Match
Ballast_Details | No Match
Barcode | No Match
BAS_Control_ID | No Match
Budget_Code | No Match
Building Name | No Match
Building_Count | No Match
Building_Function | No Match
Building_Function_Category | No Match
Building_Lease_Code | No Match
Building_Number | No Match
Campus | No Match
Capacity | No Match
Capacity_UOM | No Match
CCT | No Match
CFM | No Match
Circuit_Number | No Match
Closet_Connector | No Match
Coil_Capacity_Cooling | No Match
Coil_Capacity_Heating | No Match
Coil_Type | No Match
Coil_Type_Heating | No Match
College_Primary | No Match
Condition | No Match
Condition_Code | No Match
Controls | No Match
Core | No Match
Count | No Match
Decommissioned | No Match
Department | No Match
Description | No Match
Dimming | No Match
Division_Code | No Match
Donor | No Match
Drawing_ID | No Match
Elevator_Number | No Match
Emergency | No Match
EnthalpyWheel | No Match
Equipment_ID | No Match
EWT | No Match
Faceplate_Connector | No Match
Filter_MERV | No Match
Filter_MERV_Pre | No Match
Filter_Quantity | No Match
Filter_Quantity_Pre | No Match
Filter_Size | No Match
Filter_Size_Pre | No Match
Finish_Base | No Match
Finish_Ceiling | No Match
Finish_Floor | No Match
Finish_Wall | No Match
Fire_Rating | No Match
Floor | No Match
FlowRate | No Match
FlowRate_Steam | No Match
Fluid_ColdSide | No Match
Fluid_HotSide | No Match
Frame | No Match
GSF | No Match
Handicap | No Match
Heat_Code | No Match
HeatPipe | No Match
Horsepower | No Match
Horsepower_Motor | No Match
HX_DeltaT | No Match
HX_EWT | No Match
HX_LWT | No Match
HX_Steam_EnteringPressure | No Match
Impeller_Diameter | No Match
Inlet_Size | No Match
Installation_Date | No Match
Interstitial | No Match
Jack_Number | No Match
Lamp | No Match
Lamp_Details | No Match
Lamp_Life | No Match
Lamp_Quantity | No Match
Lamp_Style | No Match
Landings | No Match
Lease_Code | No Match
Level | No Match
Lifecycle_Phase | No Match
Load_Max_UOM | No Match
Load_Maximum | No Match
Location | No Match
Lumens | No Match
LWT | No Match
Maintenance_Required | No Match
Manufacturer | No Match
Manufacturer_Motor | No Match
Mark | No Match
Material_of_Construction | No Match
Maximo_Name | No Match
Media_Type | No Match
Model | No Match
Model_Motor | No Match
Name | No Match
National_Board_Number | No Match
Network_Room | No Match
Nominal_Voltage | No Match
Number | No Match
Occupancy | No Match
Official_Name | No Match
OM_Manual_Number | No Match
OMManual_Required | No Match
Outlet | No Match
Ownership_Status | No Match
Panel | No Match
Permit_Required | No Match
Phases | No Match
Phases_Motor | No Match
Port_Number | No Match
Pressure_Drop | No Match
Pressure_Head_Design | No Match
Project Name | No Match
Project Number | No Match
Project_Name | No Match
Project_Number | No Match
Refrigerant_Charge | No Match
Refrigerant_Type | No Match
Room_AC | No Match
Room_Condition | No Match
Room_Function_Code | No Match
Room_Function_Description | No Match
Room_ID | No Match
Room_Type_Code | No Match
Room_Type_Description | No Match
RPM | No Match
RPM_Motor | No Match
Security_Door | No Match
Security_Room | No Match
Serial_Number | No Match
SetPoint_Flow | No Match
SetPoint_Temperature | No Match
Short_Name | No Match
Space_Served | No Match
Speed | No Match
Speed_UOM | No Match
Student_Seats | No Match
Submittal_Number | No Match
Submittal_Required | No Match
Substantial_Completion_Date | No Match
SubSystem | No Match
SubType | No Match
Supply_Air_Temperature | No Match
Supply_Air_Temperature_SetPoint | No Match
System | No Match
Type | No Match
URL_ApprovedSubmittal_Doc | No Match
URL_CxReport_Doc | No Match
URL_NamePlate_Pic | No Match
URL_OMManual_Doc | No Match
URL_Permit | No Match
URL_PSU_BOX | No Match
URL_TAB_Doc | No Match
URL_Warranty_Doc | No Match
VFD | No Match
VFD_AirFilter | No Match
Voltage | No Match
Voltage_Ballast | No Match
Voltage_Motor | No Match
Voltage_Secondary | No Match
Warranty_End_Date | No Match
Wattage | No Match
Wattage_Lamp | No Match

## Acceptable Column Names
Column (Attribute) Names | Used | Reconcile | Revit Shared Parameter File Name | Acceptable (Yes or No) | Unit of Measure | Allow Date | Maximum Characters | Check for Duplicate Values | Text Allowed | Force Text | Format Code | NA Allowed | Picklist | Picklist Additional Info | Picklist Values Column | Rename Column | Color | COBie Sheet | Remove Text | Parameter Group | Expected Range (Mininum) | Expected Range (Maximum) | Out of Range Notation | Percentage Used | Total Used by Type | Total Required (X) | Total Optional (O) | "Type" List Right of this Column | Project | Room | Door | Fixtures | AED Devices | Maintainable Equipment | Network Outlet | Network Jack | Roof | Roofing | Safety Device
_COBie Sheet | FALSE | [Not Applicable] | [Not Applicable] | _System | [19 empty] | 0% | 0 | 0 | 0
_Export File Grouping | TRUE | [Not Applicable] | [Not Applicable] | _System | [19 empty] | 0% | 11 | 0 | 0 |  | Architectural | Architectural | Architectural | Architectural | Operations | Operations | ENCS | ENCS | Roofing | Operations | Roofing
_Export Sheet Grouping | FALSE | [Not Applicable] | [Not Applicable] | _System | [19 empty] | 0% | 0 | 0 | 0
_System Type Grouping | FALSE | [Not Applicable] | [Not Applicable] | _System | [19 empty] | 0% | 0 | 0 | 0
_Count of Attributes Possible | TRUE | [Not Applicable] | [Not Applicable] | _System_Temp | [19 empty] | 0% | 11 | 0 | 0 |  | 18 | 36 | 29 | 12 | 24 | 17 | 17 | 18 | 29 | 3 | 28
_Count of Attributes Required | TRUE | [Not Applicable] | [Not Applicable] | _System_Temp | [19 empty] | 0% | 11 | 0 | 0 |  | 18 | 30 | 19 | 9 | 21 | 17 | 15 | 16 | 24 | 3 | 25
Consolidated from Sheet | FALSE | [Not Applicable] | [Not Applicable] | _System_Z |  |  |  |  | Yes |  |  | No | [11 empty] | 0% | 0 | 0 | 0
EC GUID | FALSE | [Not Applicable] | [Not Applicable] | _System_Z |  |  |  |  | Yes |  |  | Yes | [11 empty] | 0% | 0 | 0 | 0
Accessible | TRUE | Accessible | psu__Accessible | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Actuated | TRUE | Actuated | psu__Actuated | Yes |  |  |  |  | Yes |  |  | Yes | [11 empty] | 200% | 2 | 2 | 0 |  |  |  | X |  | X
Alternative_Room_Name | TRUE | Alternative_Room_Name | psu__Alternative_Room_Name | Yes |  |  |  |  | Yes |  |  | Yes | [7 empty] | Space Management |  |  |  | 0% | 1 | 0 | 0 |  |  | NAA
Alternative_Room_Number | TRUE | Alternative_Room_Number | psu__Alternative_Room_Number | Yes |  |  |  |  | Yes |  |  | Yes | [7 empty] | Space Management |  |  |  | 0% | 1 | 0 | 0 |  |  | NAA
Amperage | TRUE | Amperage | psu__Amperage | Yes | Amps |  |  |  | No |  |  | No | [6 empty] | Yes |  |  |  |  | 100% | 1 | 1 | 0 | [5 empty] | X
Area | TRUE | Area | psu__Area | Yes | SF |  |  |  | No |  |  | No | [6 empty] | Yes | Space Management |  |  |  | 200% | 2 | 2 | 0 |  |  | X | [6 empty] | X
Area_Services | TRUE | Area_Services | psu__Area_Services | Yes |  |  |  |  | Yes |  |  | Yes | Service Area |  | Value |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  | X
ASF_Type | TRUE | ASF_Type | psu__ASF_Type | Yes |  |  |  |  | Yes |  |  | No | Room Type |  | Value Alternative |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Assets | TRUE | Assets | psu__Assets | Yes |  |  |  |  | Yes |  |  | Yes | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Associated Asset | TRUE | Associated_Asset | psu__Associated_Asset | [20 empty] | 0% | 1 | 0 | 0 | [11 empty] | NAA
Barcode | TRUE | Barcode | psu__Barcode | Yes |  |  |  | Yes | Yes |  |  | Yes | [11 empty] | 300% | 3 | 3 | 0 | [5 empty] | X | X |  |  |  |  | X
BAS_Control_ID | TRUE | BAS_Control_ID | psu__BAS_Control_ID | Yes |  |  |  |  | Yes |  |  | Yes | [11 empty] | 0% | 1 | 0 | 0 |  |  |  | NAA
Budget_Code | TRUE | Budget_Code | psu__Budget_Code | Yes |  |  |  |  | Yes |  |  | Yes | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Building Name | TRUE | Building Name | psu__Building_Name | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  | X
Building_Count | TRUE | Building_Count | psu__Building_Count | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  | X
Building_Function | TRUE | Building_Function | psu__Building_Function | Yes |  |  |  |  | Yes | Yes |  | No | Building Function |  | Value Description |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  | X
Building_Function_Category | TRUE | Building_Function_Category | psu__Building_Function_Category | Yes |  |  |  |  | Yes | Yes |  | No | Building Function Category |  | Value |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  | X
Building_Lease_Code | TRUE | Building_Lease_Code | psu__Building_Lease_Code | Yes |  |  |  |  | Yes |  |  | Yes | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  | X
Building_Number | TRUE | Building_Number | psu__Building_Number | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 300% | 3 | 3 | 0 |  | X | [5 empty] | X | X
Campus | TRUE | Campus | psu__Campus | Yes |  |  |  |  | Yes |  |  | No | Campus Code |  | Value Abbreviation |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  | X
Capacity | TRUE |  | psu__Capacity | [20 empty] | 100% | 1 | 1 | 0 | [11 empty] | X
Capacity_UOM | TRUE | Capacity_UOM | psu__Capacity_UOM | [20 empty] | 100% | 1 | 1 | 0 | [11 empty] | X
Closet_Connector | TRUE | Closet_Connector | psu__Closet_Connector | Yes |  |  |  |  | Yes |  |  | No | Network Connection |  | Value | [8 empty] | 100% | 1 | 1 | 0 | [8 empty] | X
College_Primary | TRUE | College_Primary | psu__College_Primary | Yes |  |  |  |  | Yes |  |  | Yes | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  | X
Condition | TRUE |  | psu__Condition | [20 empty] | 100% | 1 | 1 | 0 | [9 empty] | X
Condition_Code | TRUE | Condition_Code | psu__Condition_Code | Yes |  |  |  |  | Yes |  |  | No | Condition | Type | Value |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  | X
Contains_Refrigerant? | TRUE | Contains_Refrigerant? | psu__Contains_Refrigerant? | [20 empty] | 100% | 1 | 1 | 0 | [6 empty] | X
Count | TRUE | Count | psu__Count | Yes |  |  |  |  | No |  |  | No | [6 empty] | Yes |  |  |  |  | 100% | 1 | 1 | 0 |  |  |  |  | X
Decommissioned | TRUE | Decommissioned | psu__Decommissioned | Yes |  |  |  |  | Yes |  |  | Yes | [6 empty] | No |  |  |  |  | 0% | 8 | 0 | 0 |  |  | NAA | NAA | NAA | NAA |  | NAA | NAA | NAA |  | NAA
Department | TRUE | Department | psu__Department | Yes |  |  |  |  | Yes |  |  | Yes | [7 empty] | Space Management |  |  |  | 0% | 1 | 0 | 0 |  |  | NAA
Description | TRUE | Description | psu__Description | Yes |  |  |  |  | Yes |  |  | No | [11 empty] | 100% | 4 | 1 | 3 |  |  |  | O |  | O |  |  |  | O |  | X
Division_Code | TRUE | Division_Code | psu__Division_Code | Yes |  |  |  |  | Yes |  |  | Yes | Division Code |  | Value |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Donor | TRUE | Donor | psu__Donor | Yes |  |  |  |  | Yes |  |  | Yes | [7 empty] | Space Management |  |  |  | 0% | 1 | 0 | 0 |  |  | NAA
Equipment_ID | TRUE | Equipment_ID | psu__Equipment_ID | Yes |  |  |  | Yes | Yes |  |  | Yes | [11 empty] | 500% | 5 | 5 | 0 |  |  |  |  | X | X | X |  |  | X |  | X
Equipment_Status | TRUE | Equipment_Status | psu__Equipment_Status | [20 empty] | 100% | 1 | 1 | 0 | [6 empty] | X
Faceplate_Connector | TRUE | Faceplate_Connector | psu__Faceplate_Connector | Yes |  |  |  |  | Yes |  |  | No | Network Connection |  | Value | [8 empty] | 100% | 1 | 1 | 0 | [8 empty] | X
Finish_Base | TRUE | Finish_Base | psu__Finish_Base | Yes |  |  |  |  | Yes |  |  | Yes | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Finish_Ceiling | TRUE | Finish_Ceiling | psu__Finish_Ceiling | Yes |  |  |  |  | Yes |  |  | Yes | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Finish_Floor | TRUE | Finish_Floor | psu__Finish_Floor | Yes |  |  |  |  | Yes |  |  | Yes | Floor Finish |  | Value Abbreviation |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Finish_Wall | TRUE | Finish_Wall | psu__Finish_Wall | Yes |  |  |  |  | Yes |  |  | Yes | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Fire_Rating | TRUE | Fire_Rating | psu__Fire_Rating | Yes | Hours |  |  |  | Yes |  |  | Yes | [7 empty] | Operations |  |  |  | 100% | 1 | 1 | 0 |  |  |  | X
Floor | TRUE | Floor | psu__Floor | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 700% | 7 | 7 | 0 |  |  | X | X | X | X |  | X |  | X |  | X
GSF | TRUE |  | psu__GSF | [20 empty] | 100% | 1 | 1 | 0 | [9 empty] | X
Handicap | TRUE | Handicap | psu__Handicap | Yes |  |  |  |  | Yes |  |  | No | Handicap |  | Value |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  | X
Heat_Code | TRUE | Heat_Code | psu__Heat_Code | Yes |  |  |  |  | Yes |  |  | No | Heat Code |  | Value |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Installation_Date | TRUE | Installation_Date | psu__Installation_Date | Yes |  |  |  |  | Yes |  |  | Yes | [11 empty] | 300% | 3 | 3 | 0 | [5 empty] | X | X |  |  | X
Interstitial | TRUE | Interstitial | psu__Interstitial | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Jack_Number | TRUE | Jack_Number | psu__Jack_Number | Yes |  |  |  |  | Yes |  |  | No | [11 empty] | 100% | 1 | 1 | 0 | [8 empty] | X
Lease_Code | TRUE | Lease_Code | psu__Lease_Code | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Level | TRUE | [Revit Default] | Level | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Lifecycle_Phase | TRUE | Lifecycle_Phase | psu__Lifecycle_Phase | Yes |  |  |  |  | Yes |  |  | Yes | Lifecycle Phase |  | Value | [8 empty] | 800% | 8 | 8 | 0 |  | X | X | X |  | X |  | X | X | X |  | X
Location | TRUE | Location | psu__Location | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 900% | 9 | 9 | 0 |  |  |  | X | X | X | X | X | X | X | X | X
Maintenance_Required | TRUE | Maintenance_Required | psu__Maintenance_Required | Yes |  |  |  |  | Yes |  |  | No | [11 empty] | 400% | 4 | 4 | 0 |  |  |  | X |  | X |  |  |  | X |  | X
Manufacturer | TRUE | Manufacturer | psu__Manufacturer | Yes |  |  |  |  | Yes |  |  | No | [11 empty] | 500% | 5 | 5 | 0 |  |  |  | X |  | X | X |  |  | X |  | X
Mark | TRUE | [Revit Default] | Mark | Yes |  |  |  |  | Yes |  |  | Yes | [11 empty] | 300% | 5 | 3 | 0 |  |  |  | NAA |  | NAA |  | X |  | X |  | X
Material of Construction | TRUE | Material_of_Construction | psu__Material_of_Construction | [20 empty] | 100% | 1 | 1 | 0 | [9 empty] | X
Maximo_Name | TRUE | Maximo_Name | psu__Maximo_Name | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Media_Type | TRUE | Media_Type | psu__Media_Type | Yes |  |  |  |  | Yes |  |  | No | Media Type |  | Value Abbreviation | [8 empty] | 100% | 1 | 1 | 0 | [8 empty] | X
Model | TRUE | Model | psu__Model | Yes |  |  |  |  | Yes |  |  | No | [11 empty] | 400% | 4 | 4 | 0 |  |  |  | X |  | X | X |  |  |  |  | X
Name | TRUE | [Revit Default] | Name | Yes |  |  |  | Yes | Yes |  |  | No | [11 empty] | 600% | 6 | 6 | 0 |  |  | X | X |  | X | X | X | X
Network_Room | TRUE | Network_Room | psu__Network_Room | Yes |  |  |  |  | Yes |  |  | No | Network Room |  | Value Abbreviation | [8 empty] | 100% | 1 | 1 | 0 | [8 empty] | X
Number | TRUE | Number | psu__Number | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 300% | 3 | 3 | 0 |  |  | X |  |  |  |  | X | X
Occupancy | TRUE | Occupancy | psu__Occupancy | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Official_Name | TRUE | Official_Name | psu__Official_Name | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 0% | 1 | 0 | 0 |  |  | NAA
OM_Manual_Number | TRUE | OM_Manual_Number | psu__OM_Manual_Number | Yes |  |  |  |  | Yes |  |  | Yes | [11 empty] | 300% | 4 | 3 | 1 |  |  |  | O |  | X |  |  |  | X |  | X
OMManual_Required | TRUE | OMManual_Required | psu__OMManual_Required | Yes |  |  |  |  | Yes |  |  | Yes | [11 empty] | 400% | 4 | 4 | 0 |  |  |  | X | X |  |  |  |  | X |  | X
Outlet | TRUE | Outlet | psu__Outlet | Yes |  |  |  |  | Yes |  |  | No | [11 empty] | 200% | 2 | 2 | 0 | [7 empty] | X | X
Ownership_Status | TRUE | Ownership_Status | psu__Ownership_Status | Yes |  |  |  |  | Yes |  |  | No | Ownership Status |  | Value |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  | X
Port_Number | TRUE | Port_Number | psu__Port_Number | Yes |  |  |  |  | Yes |  |  | No | [11 empty] | 100% | 1 | 1 | 0 | [8 empty] | X
Project_Name | TRUE | Project_Name | psu__Project_Name | Yes |  |  |  |  | Yes |  |  | No | [11 empty] | 100% | 1 | 1 | 0 |  | X
Project_Number | TRUE | Project_Number | psu__Project_Number | Yes |  |  |  |  | Yes |  |  | No | [11 empty] | 100% | 1 | 1 | 0 |  | X
Responsibility_Installation | TRUE | Responsibility_Installation | psu__Responsibility_Installation | Yes |  |  |  |  | Yes |  |  | No | Responsibility Installation |  | Value | [8 empty] | 800% | 8 | 8 | 0 |  |  |  | X | X | X |  | X | X | X | X | X
Responsibility_Procurement | TRUE | Responsibility_Procurement | psu__Responsibility_Procurement | Yes |  |  |  |  | Yes |  |  | No | Responsibility Procurement |  | Value | [8 empty] | 800% | 8 | 8 | 0 |  |  |  | X | X | X |  | X | X | X | X | X
Room_AC | TRUE | Room_AC | psu__Room_AC | Yes |  |  |  |  | Yes |  |  | No | Room AC |  | Value |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Room_Condition | TRUE | Room_Condition | psu__Room_Condition | Yes |  |  |  |  | Yes |  |  | No | Condition | Type | Value |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Room_Function_Code | TRUE | Room_Function_Code | psu__Room_Function_Code | Yes |  |  |  |  | Yes | Yes |  | No | Room Function |  | Value |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Room_Function_Description | TRUE | Room_Function_Description | psu__Room_Function_Description | Yes |  |  |  |  | Yes | Yes |  | No | Room Function |  | Value Description |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Room_ID | TRUE | Room_ID | psu__Room_ID | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Room_Type_Code | TRUE | Room_Type_Code | psu__Room_Type_Code | Yes |  |  |  |  | Yes |  |  | No | Room Type |  | Value |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Room_Type_Description | TRUE | Room_Type_Description | psu__Room_Type_Description | Yes |  |  |  |  | Yes |  |  | No | Room Type |  | Value Description |  |  |  |  | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Safety Category | TRUE | Safety_Category | psu__Safety_Category | [20 empty] | 200% | 2 | 2 | 0 | [9 empty] | X |  | X
Security_Door | TRUE | Security_Door | psu__Security_Door | Yes |  |  |  |  | Yes |  |  | Yes | Security Door |  | Value | [8 empty] | 100% | 1 | 1 | 0 |  |  |  | X
Security_Room | TRUE | Security_Room | psu__Security_Room | Yes |  |  |  |  | Yes |  |  | Yes | Security Room |  | Value | [8 empty] | 200% | 2 | 2 | 0 |  |  | X | X
Serial_Number | TRUE | Serial_Number | psu__Serial_Number | Yes |  |  |  | Yes | Yes |  |  | No | [11 empty] | 400% | 4 | 4 | 0 |  |  |  | X |  | X | X |  |  |  |  | X
Short_Name | TRUE | Short_Name | psu__Short_Name | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  | X
Space_Served | TRUE | Space_Served | psu__Space_Served | Yes |  |  |  |  | Yes |  |  | No | [11 empty] | 100% | 1 | 1 | 0 | [6 empty] | X
Student_Seats | TRUE | Student_Seats | psu__Student_Seats | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | Space Management |  |  |  | 100% | 1 | 1 | 0 |  |  | X
Submittal_Number | TRUE | Submittal_Number | psu__Submittal_Number | Yes |  |  |  |  | Yes |  |  | Yes | [11 empty] | 500% | 5 | 5 | 0 |  |  |  | X |  | X |  | X |  | X |  | X
Submittal_Required | TRUE | Submittal_Required | psu__Submittal_Required | Yes |  |  |  |  | Yes |  |  | Yes | [11 empty] | 400% | 4 | 4 | 0 |  |  |  | X | X | X |  |  |  | X
Substantial_Completion_Date | TRUE | Substantial_Completion_Date | psu__Substantial_Completion_Date | Yes |  | Yes |  |  | Yes |  |  | Yes | [7 empty] | General |  |  |  | 100% | 1 | 1 | 0 |  | X
SubType | TRUE | SubType | psu__SubType | Yes |  |  |  |  | Yes |  |  | No | Maintainable Equipment | Type | Value | [8 empty] | 300% | 5 | 3 | 0 |  |  |  | NAA |  |  |  | X | X | NAA |  | X
System | TRUE | System | psu__System | Yes |  |  |  |  | Yes |  |  | No | [11 empty] | 200% | 2 | 2 | 0 | [7 empty] | X | X
Type | TRUE | Type | psu__Type | Yes |  |  |  |  | Yes |  |  | No | Maintainable Equipment |  | Value | [8 empty] | 800% | 8 | 8 | 0 |  |  | X | X | X | X | X | X |  | X |  | X
Type Mark | TRUE | [Revit Default] | Type Mark | Yes |  |  |  |  | Yes |  |  | Yes | [11 empty] | 0% | 5 | 0 | 0 |  |  |  | NAA |  |  |  | NAA | NAA | NAA |  | NAA
URL_ApprovedSubmittal_Doc | TRUE | URL_ApprovedSubmittal_Doc | psu__URL_ApprovedSubmittal_Doc | Yes |  |  |  |  | Yes |  |  | No | [11 empty] | 500% | 7 | 5 | 1 |  |  |  | O | NAA | X | X | X |  | X |  | X
URL_CxReport_Doc | TRUE | URL_CxReport_Doc | psu__URL_CxReport_Doc | [20 empty] | 0% | 1 | 0 | 0 | [9 empty] | NAA
URL_NamePlate_Pic | TRUE | URL_NamePlate_Pic | psu__URL_NamePlate_Pic | Yes |  |  |  |  | Yes |  |  | Yes | [11 empty] | 100% | 1 | 1 | 0 | [6 empty] | X
URL_OMManual_Doc | TRUE | URL_OMManual_Doc | psu__URL_OMManual_Doc | Yes |  |  |  |  | Yes |  |  | Yes | [11 empty] | 400% | 6 | 4 | 1 |  |  |  | O | NAA | X | X |  |  | X |  | X
URL_PSU_BOX | TRUE | URL_PSU_BOX | psu__URL_PSU_BOX | Yes |  |  |  |  | Yes |  |  | No | [7 empty] | General |  |  |  | 100% | 1 | 1 | 0 |  | X
URL_Warranty_Doc | TRUE | URL_Warranty_Doc | psu__URL_Warranty_Doc | Yes |  |  |  |  | Yes |  |  | Yes | [11 empty] | 300% | 4 | 3 | 1 |  |  |  | O |  |  | X |  |  | X |  | X
Warranty_End_Date | TRUE | Warranty_End_Date | psu__Warranty_End_Date | Yes |  | Yes |  |  | Yes |  |  | No | [11 empty] | 400% | 4 | 4 | 0 |  |  |  | X |  |  | X |  |  | X |  | X

## Data Consolidated
Area_Services | Building_Number | Campus | College_Primary | Lifecycle_Phase | Project_Name | Project_Number | Short_Name | Substantial_Completion_Date | URL_PSU_BOX | Accessible | Alternative_Room_Name | Alternative_Room_Number | Area | ASF_Type | Assets | Budget_Code | Building Name | Building_Count | Building_Function | Building_Function_Category | Building_Lease_Code | Condition_Code | Decommissioned | Department | Division_Code | Donor | Finish_Base | Finish_Ceiling | Finish_Floor | Finish_Wall | Floor | Handicap | Heat_Code | Interstitial | Lease_Code | Level | Maximo_Name | Number | Occupancy | Official_Name | Ownership_Status | Room_AC | Room_Condition | Room_Function_Code | Room_Function_Description | Room_ID | Room_Type_Code | Room_Type_Description | Security_Room | Student_Seats | Type | Actuated | BAS_Control_ID | Core | Description | Fire_Rating | Location | Maintenance_Required | Manufacturer | Mark | Model | OM_Manual_Number | OMManual_Required | Responsibility_Installation | Responsibility_Procurement | Security_Door | Serial_Number | Submittal_Number | Submittal_Required | SubType | Type Mark | URL_ApprovedSubmittal_Doc | URL_OMManual_Doc | URL_Warranty_Doc | Warranty_End_Date | Count | Amperage | Barcode | Equipment_ID | Installation_Date | Space_Served | Equipment Status | Contains Refrigerant? | URL_NamePlate_Pic | Name

## Project
Area_Services | Building_Name | Building_Count | Building_Function | Building_Function_Category | Building_Lease_Code | Building_Number | Campus | College_Primary | Condition_Code | Lifecycle_Phase | Ownership_Status | Project_Name | Project_Number | Short_Name | Substantial_Completion_Date | URL_PSU_BOX

## Room
Accessible | Alternative_Room_Name | Alternative_Room_Number | Area | ASF_Type | Assets | Budget_Code | Decommissioned | Department | Division_Code | Donor | Finish_Base | Finish_Ceiling | Finish_Floor | Finish_Wall | Floor | Heat_Code | Interstitial | Lease_Code | Level | Lifecycle_Phase | Maximo_Name | Name | Number | Occupancy | Official_Name | Room_AC | Room_Condition | Room_Function_Code | Room_Function_Description | Room_ID | Room_Type_Code | Room_Type_Description | Security_Room | Short_Name | Student_Seats | Type

## Door
Actuated | BAS_Control_ID | Decommissioned | Description | Fire_Rating | Floor | Lifecycle_Phase | Location | Maintenance_Required | Manufacturer | Mark | Model | Name | OM_Manual_Number | OMManual_Required | Responsibility_Installation | Responsibility_Procurement | Security_Door | Security_Room | Serial_Number | Submittal_Number | Submittal_Required | SubType | Type | Type Mark | URL_ApprovedSubmittal_Doc | URL_OMManual_Doc | URL_Warranty_Doc | Warranty_End_Date

## AED Devices
Actuated | Amperage | Barcode | Decommissioned | Description | Equipment_ID | Floor | Installation_Date | Lifecycle_Phase | Location | Maintenance_Required | Manufacturer | Mark | Model | Name | OM_Manual_Number | Responsibility_Installation | Responsibility_Procurement | Serial_Number | Submittal_Number | Submittal_Required | Type | URL_ApprovedSubmittal_Doc | URL_OMManual_Doc

## Fixtures
Type | Equipment_ID | Count | Floor | Location | Decommissioned | Responsibility_Installation | Responsibility_Procurement | Submittal Required | OMManual_Required | URL_ApprovedSubmittal_Doc | URL_OMManual_Doc
[12 empty] | Bathroom Fixture | Yes
[12 empty] | Bathroom Fixture \ Paper Towel Dispenser | No
Bathroom Fixture \ Sink
Bathroom Fixture \ Toilet
Bathroom Fixture \ Toilet Paper Dispenser - Double Roll
Bathroom Fixture \ Toilet Paper Dispenser - Single Roll
Bathroom Fixture \ Urinal
Mirror
Recycling Station
Trash Can

## Maintainable Equipment
Barcode | Building | Contains Refrigerant? | Equipment Status | Equipment_ID | Installation_Date | Location | Manufacturer | Model | Name | Serial_Number | Contains Refrigerant?2 | Equipment Status3 | Type2 | Space_Served | Type | URL_ApprovedSubmittal_Doc | URL_NamePlate_Pic | URL_OMManual_Doc | URL_Warranty_Doc | Warranty_End_Date
[11 empty] | Yes | Decommissioned | AED Devices
[11 empty] | No | New
[12 empty] | Salvage | Air Conditioner \ Heat Pump
[12 empty] | Deleted | Air Conditioner \ Package Terminal
Air Conditioner \ Rooftop
Air Conditioner \ Split System Air Conditioner
Air Conditioner \ Water Source Heat Pump
Air Handling Unit
Air Terminal
Air Terminal \ Constant Air Volume
Air Terminal \ Constant Air Volume \ Dual Duct
Air Terminal \ Constant Air Volume \ Fan Powered
Air Terminal \ Lab Exhaust
Air Terminal \ Lab Supply
Air Terminal \ Variable Air Volume
Air Terminal \ Variable Air Volume \ Dual Duct
Air Terminal \ Variable Air Volume \ Fan Powered
Blower
Blower \ Positive Displacement
Boiler
Boiler \ Cast Iron
Boiler \ Electric
Boiler \ Fire Tube
Boiler \ Unknown Type
Boiler \ Water Tube
Card Reader
Chamber
Chamber \ Environmental Growth
Charger
Charger \ Battery
Chiller \ Absorption
Chiller \ Air Cooled
Chiller \ Water Cooled
Collector
Collector \ Dust
Collector \ Solar
Compactor
Compressor
Compressor \ Air
Condensate Station
Condenser \ Air Cooled
Condenser \ Water Cooled
Condensing Unit \ Air Conditioner
Condensing Unit \ Heat Pump
Condensing Unit \ Water Cooled
Contactor
Contactor \ Street Light
Conveyor
Cooler
Cooler \ Evaporative (Swamp)
Cooling Tower
Cooling Tower \ Evaporative Condenser
Cooling Tower \ Evaporative Cooler
Damper \ Combo
Damper \ Fire
Damper \ Smoke
Dehumidifier \ Desiccant
Dehumidifier \ Refrigerant
Disconnect
Disconnect \ Fused
Disconnect \ Switch
Door
Door \ Exterior
Door \ Interior
Door \ Roll-Up Combo
Drive
Drive \ Variable Freq
Dryer \ Air
Dryer \ Air, Desiccant
Dryer \ Air, Refrigerant
Dryer \ Laundry
Elevator
Elevator \ Cable
Elevator \ Cable Combo
Elevator \ Dual Ropes Hydraulic
Elevator \ Escalator
Elevator \ Hand Operated
Elevator \ Holeless Hydraulic
Elevator \ Hydraulic
Elevator \ Hydraulic Combo
Elevator \ Machine Room-less
Elevator \ Mechanical Screw
Elevator \ Telescoping Hydraulic
Evaporator
Expansion Joint
Fan
Fan \ Air Curtain
Fan \ Air Rotation Unit
Fan \ Axial
Fan \ Barrel
Fan \ Centrifugal
Fan \ Coil Unit
Fan \ Exhaust
Fan \ Filter Unit
Fan \ Forced Draft
Fan \ Heat & Vent
Fan \ Heat Recovery
Fan \ Induced Draft
Fan \ Makeup Air
Fan \ Overfire
Fan \ Return Air
Fan \ Reverse Air
Fan \ Roof Top Air Handling
Fan \ Supply Air
Fan \ Transfer Air
Fan \ Unit Ventilator
Feeder
Feeder \ Chemical
Feeder \ Glycol
Filter
Filter \ Air
Filter \ Air, Hepa
Filter \ Bag
Filter \ Cartridge
Filter \ Closed Loop Chilled Water
Filter \ Condensate
Filter \ Non-Potable Water
Filter \ Oil Separator
Filter \ Potable Water
Filter \ REVERSE OSMOSIS
Fireplace
Fixture
Fixture \ Emergency Light
Fixture \ Interior Light
Fixture \ Street Light
Freezer
Freezer \ Walkin
Fryer
Fryer \ Domestic Water
Furnace
Generator
Generator \ Emergency Power
Generator \ Nitrogen
Grease Trap
Heat Exchanger
Heat Exchanger \ Air Cooled
Heat Exchanger \ Boiler Economizer
Heat Exchanger \ Direct Contact
Heat Exchanger \ Plate & Frame
Heat Exchanger \ Shell & Tube
Heat Exchanger \ Solar
Heater
Heater \ Cabinet Unit
Heater \ Convector
Heater \ Domestic Water
Heater \ Domestic Water, Tankless Instantaneous
Heater \ Infrared Gas
Heater \ Unit
Heater \ Water
Hoist
Hoist \ Electric Motor
Hoist \ Hydraulic
Hoist \ Manual
Hood
Hood \ Fume
Humidifier
Humidifier \ Electric
Humidifier \ Steam to Steam Generators
Hydrant
Hydrant \ Fire
Ice Machine
Induction Unit
Kiln
Lab Dishwasher
Lift
Lift \ Scissor
Lock
Lock \ Dock
Panel
Panel \ Access Control
Phone Emergency
Power Supply
Power Supply \ Battery Bank
Power Supply \ Panelboard
Power Supply \ Solar PV
Power Supply \ Uninterruptible
Pump
Pump \ Ammonia
Pump \ Boiler Feed Water
Pump \ Boiler Lube Oil
Pump \ Brine System
Pump \ Centrifugal Combo
Pump \ Chemical
Pump \ Chilled Water
Pump \ Circulation
Pump \ Clinker Grinder
Pump \ Condensate Return
Pump \ Condensate Return, Unknown Type
Pump \ Condensate Return-Duplex, Electric
Pump \ Condensate Return-Pressure Power
Pump \ Condenser Water
Pump \ Cooling Tower
Pump \ Cooling Tower Water
Pump \ Diaphragm Elec Combo
Pump \ Domestic Cold Water
Pump \ Domestic Hot Water
Pump \ Domestic Water Booster
Pump \ Fire Water
Pump \ Glycol Solution
Pump \ Heat Recovery
Pump \ Heating & Cooling
Pump \ Hot Water
Pump \ Portable
Pump \ Potable Water
Pump \ Process Water
Pump \ Reverse Osmosis
Pump \ Sewage
Pump \ Submersible
Pump \ Sump
Pump \ Sweet Water
Pump \ Transfer
Pump \ Vacuum
Pump \ Well Water
Recycling Station
Refrigeration Unit
Refrigeration Unit \ Reach-in
Refrigeration Unit \ Walkin
Regulator
Regulator \ Pressure
Roof
Room
Safety Device
Safety Shower
Sampler
Sampler \ Gas
Separator
Separator \ Air
Separator \ Air, Dirt Combo
Separator \ Dirt
Separator \ Oil,Water
Spiking Station
Sprinkler System
Sprinkler System \ Dry
Sprinkler System \ Foam, Dry
Sprinkler System \ Foam, Wet
Sprinkler System \ Standpipe
Sprinkler System \ Wet
Steam Meter
Steam Table
Steam Trap
Steam Trap \ Bucket
Steam Trap \ Float & Thermostatic
Steam Trap \ Orifice
Steam Trap \ Thermodynamic
Steam Trap \ Thermostatic
Sterilizer
Stripper \ Air
Switch
Switch \ AST
Switch \ Electrical
Switch \ Electrical Transfer
Switch \ Flow
Switch \ Level
Switch \ Pressure
Switch \ Sectionalizing
Switchgear
Tank
Tank \ Aboveground Storage
Tank \ Atmospheric
Tank \ Boiler Blowdown Separator
Tank \ Boiler Feed
Tank \ Deaerator
Tank \ Expansion
Tank \ Pressure Vessel
Tank \ Slurry
Tank \ Underground Storage
Transformer
Transformer \ Dry
Transformer \ Liquid
Transformer \ Liquid, FR3
Transformer \ Liquid, Oil
Transformer \ Liquid, Rtemp
Transformer \ Liquid, Silicon
Trash Can
Tunnel
Ultra Violet Light Unit
Valve
Valve \ Back Flow Preventing Double Check
Valve \ Back Flow Preventing Reduced Pressure
Valve \ Back Flow Preventing Vacuum Breaker
Valve \ Ball, Automatic
Valve \ Butterfly, Automatic
Valve \ Pressure Reducing
Valve \ Safety Relief
Water \ Distilled Unit
Water \ Reverse Osmosis Unit
Water \ Softener
Water Fountain
Water Fountain \ Bottle Filling Station
Water Fountain \ Refrigerated

## Network Outlet
Building_Number | Decommissioned | Floor | Lifecycle_Phase | Location | Mark | Name | Number | Outlet | Responsibility_Installation | Responsibility_Procurement | Submittal_Number | SubType | System | Type | Type Mark | URL_ApprovedSubmittal_Doc

## Network Jack
Building_Number | Closet_Connector | Decommissioned | Faceplate_Connector | Jack_Number | Lifecycle_Phase | Location | Media_Type | Name | Network_Room | Number | Outlet | Port_Number | Responsibility_Installation | Responsibility_Procurement | SubType | System | Type Mark | Phases
Design
Construction
Cx
Operations

## Roof
Area | Condition | Decommissioned | Description | Equipment_ID | Floor | GSF | Installation_Date | Lifecycle_Phase | Location | Maintenance_Required | Manufacturer | Mark | Material_of_Construction | OM_Manual_Number | OMManual_Required | Responsibility_Installation | Responsibility_Procurement | Safety_Category | Submittal_Number | Submittal_Required | Substantial_Completion_Date | SubType | Type | Type Mark | URL_ApprovedSubmittal_Doc | URL_CxReport_Doc | URL_OMManual_Doc | URL_Warranty_Doc | Warranty_End_Date

## Roofing
Location | Responsibility_Installation | Responsibility_Procurement | Responsibility
Designer
Builder
PSU

## Safety Device
Associated_Asset | Barcode | Capacity | Capacity_UOM | Decommissioned | Description | Equipment_ID | Floor | Lifecycle_Phase | Location | Maintenance_Required | Manufacturer | Mark | Model | OM_Manual_Number | OMManual_Required | Responsibility_Installation | Responsibility_Procurement | Safety_Category | Serial_Number | Submittal_Number | SubType | Type | Type Mark | URL_ApprovedSubmittal_Doc | URL_OMManual_Doc | URL_Warranty_Doc | Warranty_End_Date